## Slide 1: Introduction to NGS
Data Analysis Group

## Slide 2: Key to slides….
Descriptive text
Example commands – black monospaced text: ls /tmp
Commands to run – red monospaced text
Prompts/STDOUT/STDERR – green monospaced text
e.g.
  -bash-4.1 $ echo $USER
  jabbott
[ENTER] – press enter key
[username] – your username, not '[username]'
\ - command is continued on next line – don't press 'enter' at this point

## Slide 3: Before we begin…
Log into the cluster enabling X11 tunnelling
Quick reminder:
  Start Xming
  Start putty (enable SSH X11 forwarding)
  Hostname: login.cluster.lifesci.dundee.ac.uk
Copy example data to your home directory
  -bash-4.1 $ cp –R /tmp/Intro_to_NGS ~
  -bash-4.1 $ cd Intro_to_NGS
Create a new conda environment and install some packages:
-bash-4.1 $ conda create –n NGS_intro -bash-4.1 $ conda activate NGS_intro -bash-4.1 $ conda install fastqc bbmap \
multiqc seqtk trim-galore \
readfq

## Slide 4: An Abridged History of Sequencing

## Slide 5: Sanger Sequencing
Developed by Fred Sanger, 1977
Selective incorporation of radio-labelled chain-terminating di-deoxynuclotides during DNA replication
4 separate reactions, one labelled ddNTP per reaction
T7 DNA polymerase replicates DNA from primer
Products separated by gel electrophoresis & blotted
Read sequence from shortest fragment at bottom of gel
Sequenase v2.0 – up to 3kb per ‘read’. 700 bp average, in 6-8 hours
Template
G
G
G
G
G
C
G
G
C
T
G
G
C
T
A
G
G
C
T
A
T
G
G
C
T
A
T
A
G
G
C
T
A
T
A
C
G
G
C
T
A
T
A
C
C
G
G
C
T
A
T
A
C
C
T
G
G
C
T
A
T
A
C
C
T
A
G
G
C
T
A
T
A
C
C
T
A
T
G
G
C
T
A
T
A
C
C
T
A
T
C
G
G
C
T
A
T
A
C
C
T
A
T
C
C
G
G
C
T
A
T
A
C
C
T
A
T
C
C
A
G
G
C
T
A
T
A
C
C
T
A
T
C
C
A
G
G
G
C
T
A
T
A
C
C
T
A
T
C
C
A
G
T
G
G
C
T
A
T
A
C
C
T
A
T
C
C
A
G
T
T
G
G
C
T
A
T
A
C
C
T
A
T
C
C
A
G
T
T
A
G
G
C
T
A
T
A
C
C
T
A
T
C
C
A
G
T
T
A
C
DNA Polymerase
G
G
C
T
A
T
A
C
C
T
T
A
C
C
A
G
T
T
A
C
C
A
T
G

## Slide 6: Automated Sanger Sequencing
Dye-terminator sequencing
  fluorescent labelled ddNTPs
  Laser excitation produces different wavelength emission from each dye
  allow use of single sequencing reaction
Capillary electrophoresis
Produces chromatogram showing peak for included bases
Parallelised: up to 384 samples per run
Read length: ~700bp
Automated
ABI 377/3700 – used to sequence Human genome
Still used for small-scale targeted sequencing
Template
G
G
G
G
G
C
G
G
C
T
G
G
C
T
A
G
G
C
T
A
T
G
G
C
T
A
T
A
G
G
C
T
A
T
A
C
G
G
C
T
A
T
A
C
C
G
G
C
T
A
T
A
C
C
T
G
G
C
T
A
T
A
C
C
T
A
G
G
C
T
A
T
A
C
C
T
A
T
G
G
C
T
A
T
A
C
C
T
A
T
C
G
G
C
T
A
T
A
C
C
T
A
T
C
C
G
G
C
T
A
T
A
C
C
T
A
T
C
C
A
G
G
C
T
A
T
A
C
C
T
A
T
C
C
A
G
G
G
C
T
A
T
A
C
C
T
A
T
C
C
A
G
T
G
G
C
T
A
T
A
C
C
T
A
T
C
C
A
G
T
T
G
G
C
T
A
T
A
C
C
T
A
T
C
C
A
G
T
T
A
G
G
C
T
A
T
A
C
C
T
A
T
C
C
A
G
T
T
A
C
DNA Polymerase
G
C
G
T
T
A
A
C
C
T
A
T
C
C
A
G
T
T
A
C

## Slide 7: Base Quality
Base calling - Interpreting chromatogram to identify incorporated base
Not all bases are created equal
Somewhat idealistic representation
Real data isn’t so clean…
Phred – standard basecalling software
Assigns quality score to each base called: phred score
Logarithmic property related to base-calling error probability
G
C
G
T
T
A
A
C
C
T
A
T
C
C
A
G
T
T
A
C
Phred Score | Prob. of incorrect base | Accuracy
10 | 1 in 10 | 90%
20 | 1 in 100 | 99%
30 | 1 in 1000 | 99.9%
40 | 1 in 10000 | 99.99%
50 | 1 in 100000 | 99.999%
60 | 1 in 1000000 | 99.9999%

## Slide 8: Early NGS Techniques/Dead Ends
Pyrosequencing/454
Sequencing by synthesis method
Incorporation of dNTP releases pyrophosphate
ATP sulfurylase converts PPi -> ATP
ATP substrate for luciferin -> oxyluciferin conversion by luciferase
Gives off light, detected by CCD
Read lengths:
  GS20: 168 bp
  FLX: 400 bp
  FLX Titanium: 800 bp
Homopolymer runs problematic
Source: atdbio

## Slide 9: Early NGS Techniques/Dead Ends
AB SOLiD
Radically different approach
Mix of labelled oligos. Bases from 3’:
  1-2: one of 16 dinucleotides
  3-5: degenerate
  6-5’ end: degenerate with fluorescent label
7 ligation cycles with different primer
Each base queried by 2 different oligos
Very high accuracy
Sequence represented in colour-space, rather than bases

## Slide 10: Current Sequencing Approaches

## Slide 11: Illumina
Sequencing by synthesis method
Sample preparation:
  Sample randomly fragmented and adapters ligated
  Adapters bound to ss oligo fragments on flowcell surface
  Bridge amplification – free end of fragment bound to complementary oligo on flowcell -> ds bridges
  Denature -> ss templates
  Dense clusters result from repeated cycles
  Reverse strands removed leaving only forward strands
Notes: Generic process – some modifications in newer instruments – no bridge amplification with patterned flowcells.

## Slide 12: Illumina - Sequencing
Labelled reversible nucleotide terminators to prevent multiple additions
First cycle – add nucleotides, primers and DNA
Primers bind to forward strands
One labelled nucleotides incorporated
Each nucleotide label has distinct emission wavelength
Image captures fluorescence from each cluster
Following cycles repeat addition of one labelled base, with image capture
Basecalling depends upon tracking location within image and change in fluorescence over time
G
G
C
T
A
T
A
C
C
T
A
T
C
C
A
G
T
T
A
C
C
C
G
A
T
A
C
C
G
A
T
A
Notes: NextSeq and MiniSeq use 2 colour chemistry

## Slide 13: Illumina – Library types
Single end sequencing
Read from one end of fragment only
May be 5’ or 3’
Paired end sequencing
Two reads from opposite ends of fragment
Reads are known distance apart – insert size
Allow spanning of short repetitive regions
Increased mapping accuracy
Insert size up to 800 bp
Stranded protocols available
Mate-Pair Sequencing
Long insert paired end reads (1kb-12kb)
Allow spanning of long repetitive regions
Useful in de-novo genome assembly and SV identification
Insert size
2-12kb fragments
Biotinylated adapters
Fragment: 200-600 bp
Isolate biotinylated fragments

## Slide 14: Illumina Flowcells
Microfluidic devices where sequencing reactions occur
Glass slide containing channels covered in oligos complimentary to adapter sequences
HiSeq instruments – 8 lanes Miseq - 1 lane
Latest instruments use patterned flowcells
  Clusters formed in ‘nanowells’ laid out on flowcell
  Eliminates need to map cluster sites
  Higher cluster density
Lanes divided up into tiles in 2 columns per lane

## Slide 15: Illumina Multiplexing
A flowcell lane frequently offers far more capacity than required
Multiplexing allows multiple samples to be run in each lane
  ‘barcoded’ adapters added to each sample
  Samples pooled and run on lane
  Reads computationally ‘demultiplexed’ into separate samples according to presence of barcodes

## Slide 16: Long Read Technologies
Short read sequencing produces vast data volumes
Backward step compared to Sanger sequencing
  De-novo assembly limited
  RNA sequencing – splice detection harder
  SV detection more difficult
Long reads generated from single molecules help
  Resolve repeats in de-novo assembly
  Sequence entire RNA molecules to reveal splicing
  Aid SV identification
Downsides
  High error rates

## Slide 17: Pacific Biosystems (PacBio)
Single Molecule Realtime Sequencing (SMRT)
Realtime detection of fluorescent nucleotide incorporation
Label on phosphate chain rather than base
Released upon cleavage of phosphate chain
DNA polymerase bound to template in Zero-mode waveguide (ZMW)
Laser shone through base of ZMW results in excitation of captured nucleotides
RSII – 1G bases per flowcell (150000 ZMWs)
Sequel – 5-8G bases (1000000 ZMWs)
N50 = 30kb

## Slide 18: Oxford Nanopore Technologies
Cell-membrane pores act as channels for molecule transport
Measure change in ionic current as molecules pass through pore
Different signal produces by A,C,T and G
Reads >1Mb possible
MinIon: up to 512 nanopores
1D2 offers sequencing of both strands - ~95% accuracy

## Slide 19: File Formats

## Slide 20: Fasta
Format for any sequence data
Unannotated
Very loose format
  Entry starts with ‘>’ followed by ID
  Description may be present – any further text on header line
  Sequence on following lines
  Sequence may be wrapped, or may be all on one line
  May be multiple sequences in the file
No base quality data
>id1
GCTAGTAAATCGTAGCTAGTCGATGTCGATG
TGTTTAGCTYACGTCAGTGTGTNNTGCA
>id2 Sequence 2 description
GCTAGTCGACTAGCTGATGTGTGTAGCTGATCGGCTAGTGTACGTAGTCAGTAGCTGACTGCTAGCATGATCGTAGTGA
Sequence 1 description

## Slide 21: Fasta quality files
Base quality scores in separate file
Fasta-like format
  Header starts with ‘>’
  Sequence ID follows, matching that in fasta file
  Space-delimited quality scores on following line(s)
Bulky
Awkward to handle
>id1
15 18 21 25 24 23 11 18 22 24 27 31 31 29 33 32
>id2
39 37 38 40 40 40 39 40 37 38 38 39 40 40 40 40 33 31 22 18

## Slide 22: NGS Base Quality Scores
Most technologies produce base quality scores
  Similar to Phred scores
  Quality scores can aid mapping, SNV discovery etc.
Illumina
Number of ‘quality predictor’ cluster properties assessed
  Intensity profile
  Signal-to-noise ratio
  Correlated with empirically determined qualities
Quality model lists combinations of predictors with quality scores
PacBio
Older instruments (RS/RSII) generate quality score
Sequel does not produce quality scores
  Set to lowest value of scale instead (0)
  Software making use of quality scores will discard all the reads…
Oxford Nanopore
Phred-like scores produced with different methods
  Originally: Hidden markov model (HMM)
  Currently: Recurrent Neural Network (RNN)
HMM-based calls observed not to reflect real base quality

## Slide 23: Fastq format
Merges sequence and quality in one file (.fastq/.fq)
De-facto standard for NGS read data
Normally gzip compressed (.fastq.gz/.fq.gz)
Base quality encoded as ASCII character
  Allows numeric range to be represented by single byte (character)
Four lines per sequence
  ‘@’ followed by ID, and optional description
  Sequence
  ’+’, optionally followed by ID
  Quality values
@SEQ_ID
GATTTGGGGTTCAAAGCAGTATCGATCAAAT
+
!''*((((***+))%%%++)(%%%%).1***

## Slide 24: Fastq Quality Encoding
SSSSSSSSSSSSSSSSSSSSSSSSSSSSSSSSSSSSSSSSS..................................................... ..........................XXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXX...................... ...............................IIIIIIIIIIIIIIIIIIIIIIIIIIIIIIIIIIIIIIIII...................... .................................JJJJJJJJJJJJJJJJJJJJJJJJJJJJJJJJJJJJJJJJ..................... LLLLLLLLLLLLLLLLLLLLLLLLLLLLLLLLLLLLLLLLLL.................................................... !"#$%&'()*+,-./0123456789:;<=>?@ABCDEFGHIJKLMNOPQRSTUVWXYZ[\]^_`abcdefghijklmnopqrstuvwxyz{|}~ | | | | | | 33 59 64 73 104 126 0........................26...31.......40 -5....0........9.............................40 0........9.............................40 3.....9..............................41 0.2......................26...31........41
S - Sanger Phred+33, raw reads typically (0, 40) X - Solexa Solexa+64, raw reads typically (-5, 40) I - Illumina 1.3+ Phred+64, raw reads typically (0, 40) J - Illumina 1.5+ Phred+64, raw reads typically (3, 41) with 0=unused, 1=unused, 2=Read Segment Quality Control Indicator (bold) L - Illumina 1.8+ Phred+33, raw reads typically (0, 41)
Source: https://en.wikipedia.org/wiki/FASTQ_format
ASCII offset for Illumina quality encoding has changed over time…

## Slide 25: Illumina Fastq Headers
Header lines of Illumina fastq files contain much embedded metadata
Guess what…
  The format has changed over time
  Cassava v 1.8 onwards:
@K00166:234:HKLGJBBXX:6:1101:1336:1173 1:N:0:NGCGATAG+NTTCGCCT
Instrument ID
Run ID
Flowcell ID
Lane
X:Y co-ord in tile
Tile
Member of pair
Filtered?
Control bits
Index sequence
Notes: Tile and X:Y co-ord may be reversed
Control bits set if read identified as a control

## Slide 26: FastQ Summary Statistics
Key questions
  How many reads are in a file?
  How long are the reads?
  How many bases are there?
Seqtk: toolkit for working with fastq/fasta data
Examine the files in the fastq directory
Count the reads:
(Intro_to_NGS) -bash-4.1$ readfq \ fastq/read1.fastq.gz
or, for the brave:
  (Intro_to_NGS) -bash-4.1$ echo \ $(zcat fastq/read1.fastq.gz |wc -l)/4|bc
Use the ‘fqchk’ function of seqtk to see basic stats
(Intro_to_NGS) -bash-4.1$ seqtk \ fqchk fastq/read1.fastq.gz
min_len: 150; max_len: 150; avg_len: 150.00; 7 distinct quality values
POS #bases %A %C %G %T %N avgQ errQ %low %high
ALL 3750 34.6 14.2 13.3 37.2 0.7 38.5 23.2 2.5 97.5
1 25 0.0 0.0 0.0 0.0 100.0 2.0 3.0 100.0 0.0
2 25 44.0 4.0 20.0 32.0 0.0 32.0 32.0 0.0 100.0
3 25 32.0 20.0 8.0 40.0 0.0 31.8 31.6 0.0 100.0
4 25 48.0 12.0 4.0 36.0 0.0 36.2 35.7 0.0 100.0
5 2 520.0 12.0 12.0 56.0 0.0 36.0 34.4 0.0 100.0
6 25 36.0. 8.0 8.0 48.0 0.0 39.3 25.8 4.0 96.0

## Slide 27: Paired reads in fastq data
Paired reads typically in separate files
  *_1.fq.gz/*_2.fq.gz
Read pairs in same order in each file
Essential to maintain ordering when i.e. trimming/subsetting reads
Older Illumina header formats use /1|/2 to indicate pair
Some tools require ‘interleaved’ read pairs
  One file, alternating between reads 1 & 2
seqtk can interleave paired fastq files
(Intro_to_NGS) -bash-4.1$ seqtk mergepe \ fastq/read1.fastq.gz \ fastq/read2.fastq.gz|gzip –c \ > interleaved.fq.gz
Now examine interleaved.fastq.gz
How can you tell if the reads are correctly paired?

## Slide 28: Quality Assessment

## Slide 29: Quality Assessment
First thing to do when analysing a dataset
Gain an understanding of quality of data
Identify any problems with the sequencing run
Poor quality data can dramatically affect analysis results
Some issues can be worked round…
FastQC: analyses range of quality metrics
Have a look at the fastqc help:
  fastqc --help
Write a wrapper to run fastqc on the cluster
Sequence files: Intro_to_NGS_examples/Streptococcus
Use 4 threads
#!/usr/bin/env bash
#$ -V
#$ -cwd
#$ -pe smp 4
cd /homes/$USER/Intro_to_NGS_examples/Streptococcus
fastqc --threads 4 -o fastqc_outputs *.fastq.gz

## Slide 30: Interpreting FastQC Results
For each fastq file, output directory contains
  fastqname_fastqc.zip
  fastqname_fastqc.html
Zip file contains separate outputs
HTML file provides combined report in single file
View this using a web browser
    firefox /path/to/file.html
    Or:
    Copy to local machine with WinSCP
Summary on left pass/warning/fail for each metric
Based on hard-coded values…no knowledge of data type or experiment

## Slide 31: FastQC: Per-base sequence quality
Box plot of quality scores along length or reads
  red line: median
  Blue line: mean
  yellow box: inter-quartile range (25%-75%)
  Whiskers: 10% & 90% range
Quality score (y axis) is Phred-like value
Typical cutoff for usable sequence: 20
  But depends on what you are doing…
NB: X-axis is not linear…
Typically see decrease in quality along read for Illumina sequence
Problem data resolution: Read trimming

## Slide 32: FastQC – Per Tile Sequence Quality
Flowcell position of read determined from fastq ID
Informs on localised problem on flowcell during run
All blue – everything's good
Otherwise…
  Localised region: air bubble?
  Broader region: dirt on flowcell?
Resolution:
  local region: mask region
  Broader region: Tricky…
Notes: Resolving large scale issues may be though trimming and masking but may lose to much data. Might need to get sequencing repeated

## Slide 33: FastQC – Per-base sequence content
Indicates proportion of A,C,T,G across length of read
We seem to have a slightly AT-rich genome
Common to see uneven distribution at beginning of read
  Effect of library prep method
  Technical bias but not a particular problem – affects base proportions but not specific sequences

## Slide 34: FastQC – Per-sequence GC content
Distribution should be close to Gaussian (normal)
Good indicator of problems with library
  Additional sharp peaks? Primer dimers?
  Bimodal distribution? – contamination?

## Slide 35: FastQC – Per-base N-content
Indicates proportion of non-callable bases (N’s) along length of read
Small number of N’s expected in all runs
Accumulation at particular points in reads could be associated with poor quality region
Consider along with other quality metrics
Resolution: read-trimming (depending upon severity)

## Slide 36: FastQC – Sequence Duplication Levels
Indicates duplication level of sequences
  Y-axis: % sequences
  X-axis: Duplication level
Duplicate sequences can occur through
  Biological duplicates – real instances of replication of sequence
  PCR duplicates – Overamplification of library
    Insufficient diversity in library
  Common in RNA-Seq – deep sequencing to find low abundance transcripts = number of copies of high abundance transcripts
  Problematic for variant calling
  Resolution: Removal of duplicate reads
Notes: Optical duplicates occur

## Slide 37: FastQC – Overrepresented sequences
Library should contain range of sequences
Should not be a significant representation of particular sequence
Overrepresented sequences may be
  Contaminants
  Biologically relevant
Sequences of >0.1% of total listed, with attempted identification of source

## Slide 38: FastQC – Adapter content
Insert size shorter than read-length will result in read-through into adapter
Plot of proportion of reads at each position which consist of adapter sequence
May also be identified in ‘overrepresented sequences’ analysis
Resolution: Carry out adapter trimming

## Slide 39: Dealing with many outputs: MultiQC
FastQC produces separate output file for each read pair of each library
Many files to look through and compare
MultiQC reads results from many tools and produces single interactive HTML report
(Intro_to_NGS) -bash-4.1$ multiqc
Usage: multiqc [OPTIONS] <analysis directory>
Error: Missing argument "analysis_dir".
This is MultiQC v1.7
For more help, run 'multiqc --help' or visit http://multiqc.info
Now try it:
Update your fastqc script to run MultiQC after completing fastqc analysis
#!/usr/bin/env bash
#$ -V
#$ -cwd
#$ -pe smp 4
cd /homes/$USER/Intro_to_NGS_examples/Streptococcus
fastqc --threads 4 -o fastqc_outputs *.fastq.gz
multiqc fastqc_outputs

## Slide 40: MultiQC Output
Open ‘multiqc_report.html’ with your web browser

## Slide 41: Read Trimming

## Slide 42: Why trim reads?
Reads can be trimmed to
  Remove low quality sequence
  Remove ambiguous base calls (N’s)
  Remove adapter sequences
Low quality sequence more likely to include incorrect base calls
Adapter sequences not of biological relevance
Removal of these can:
  Improve quality of de-novo assembly
  Improve proportion of mapped reads
  Increase SNV calling accuracy
  Reduce computational time
Trimming has also been shown to affect RNA-Seq differential expression analysis
  Williams et al . 2016 Trimming of sequence reads alters RNA-Seq gene expression estimates. BMC Bioinformatics 17(1):103.
  Shorter reads following trimming more likely to be mis-mapped
  Use minimum length threshold to discard short reads completely following trimming
Only apply trimming if evidence of problems in data
Treat all libraries in an experiment the same way

## Slide 43: Read Trimmers
Many available…with different capabilities
  Adapters? (cutadapt/trimmomatic)
  Quality? (sickle/cutadapt/fastx_trimmer)
  Paired-end support? (sickle/trimmomatic)
  Format detection?
Trim-galore wraps cutadapt and fastqc
  Adapter trimming
  Paired-end support
  Optionally runs fastqc following trimming
  (Intro to NGS) -bash-4.1$ trim_galore --help

## Slide 44: Exercise: Write a Trim Galore wrapper
Trim the paired-end sequence reads in the ‘Streptococcus’ directory using the following criteria:
  Quality cutoff: 30
  Length cutoff: 100
  Trim N’s from the end of reads
  Gzip compress outputs into new directory
  N.B. output directory is not created automatically…
Check the trimming_report.txt files
Output file naming:
  Single ended: _trimmed.fq.gz
  Paired end: _val_1.fq.gz, _val_2.fq.gz
How can you check that read pairing has been retained?

## Slide 45: Trim-galore scripts
Single job, files processed in series:
#!/usr/bin/env bash
#$ -V
#$ -cwd
trim_galore --paired --trim-n --gzip -o trimmed --retain_unpaired -q 30 --length 100 \ Streptococcus/*.fastq.gz
Array job, libraries processed in parallel
#!/usr/bin/env bash
#$ -V
#$ -cwd
#$ -t 1-4
libs=($(ls Streptococcus/*gz|cut -f1 -d.|uniq))
lib=${libs[${SGE_TASK_ID}-1]}
trim_galore --paired --trim-n --gzip -o trimmed --retain_unpaired -q 30 --length 100 ${lib}*.fastq.gz

## Slide 46: Downsampling
In some circumstances, may have too much data
  Excess depth not informative
  Increases computation time
  Can negatively affect results
  Need to think carefully about particular experiment
Seqtk ‘sample’ subcommand
Randomly subsambles from file
Keep seed (-s) the same for paired reads e.g.
    seqtk sample –s100 read1.fq.gz 10000 > gzip –c downsampled.1.fq.gz
    seqtk sample –s100 read2.fq.gz 10000 > gzip -c downsampled.2.fq.gz

## Slide 47: Duplicate Removal
Removing duplicates generally done on aligned reads
unaligned reads? clumpify from bbmap package
    (Intro_to_NGS) –bash-4.1$ clumpify.sh in=H395.1.fastq.gz in2=H395.2.fastq.gz \ out=dedup.1.fq.gz out2=dedup.2.fq.gz dedupe
Allows for a number of substitutions for sequencing error (2 by default)
  modify with ‘subs=x’
Always check files of paired reads still have matched numbers of reads after any modifications

## Slide 48: DAG Workflows

## Slide 49: The Reproducibility Crisis…
Many difficulties of reproducibility in analysis
  What software version?
  What arguments?
  How is this recorded?
  How can someone else replicate the analysis
Scaling up analysis is difficult
  Debugging scripts
  Ensuring cluster jobs run appropriately
Many things to consider, before you start thinking about the analysis itself

## Slide 50: DAG Workflows
DAG Workflows utilise:
    Conda
    automated package management
    Workflow distribution and version management
      Snakemake
    Allows definition of workflows through the use of rules relating to different tasks and dependancies
    Integrates with Grid Engine to manage job submissions
    Tracks input and output files
      Errors reported if correct output files not produced
      Minimise need to rerun previous stages of analysis
Designed to make efficient use of cluster
Are not 'black-boxes'…all software arguments exposed and need to be understood
Self-documenting

## Slide 51: DAG Workflows: initial setup
Add DAG conda channel to configuration
    (Intro_to_NGS) –bash-4.1$ conda config --add channels \ https://dag.compbio.dundee.ac.uk/conda
  Check channel added correctly
    (Intro_to_NGS) –bash-4.1$ conda info
  Create and activate a new environment
    (Intro_to_NGS) –bash-4.1$ conda create –n dag-wf
    (Intro_to_NGS) –bash-4.1$ conda activate dag-wf
  Install the DAG workflow package
    (Intro_to_NGS) –bash-4.1$ conda install dag-wf

## Slide 52: DAG Workflows: Installation
The following packages will be downloaded:
package | build
---------------------------|-----------------
attrs-19.1.0 | py_0 32 KB conda-forge
cffi-1.12.2 | py37h342bebf_0 209 KB conda-forge
cryptography-2.5 | py37hc2b1221_1 589 KB conda-forge
dag-wf-0.01 | 1 2 KB https://dag.compbio.dundee.ac.uk/conda
dag-wf-core-0.03 | 9 6 KB https://dag.compbio.dundee.ac.uk/conda
dag-wf-qc-pe-0.01 | 10 10 KB https://dag.compbio.dundee.ac.uk/conda
dag-wf-qc-se-0.01 | 23 74.8 MB https://dag.compbio.dundee.ac.uk/conda
datrie-0.7.1 | py37h1de35cc_0 133 KB conda-forge
docutils-0.14 | py37_1001 693 KB conda-forge
drmaa-0.7.9 | py_1000 18 KB conda-forge
graphviz-2.38.0 | hc6cc99f_1011 9.5 MB conda-forge
jsonschema-3.0.1 | py37_0 85 KB conda-forge
libcxx-7.0.0 | h2d50403_1 1.2 MB conda-forge
psutil-5.6.0 | py37h1de35cc_0 323 KB conda-forge
pyyaml-3.13 |py37h1de35cc_1001 160 KB conda-forge
ratelimiter-1.2.0 | py37_1000 12 KB conda-forge
snakemake-minimal-5.4.2 | py_0 130 KB bioconda
wrapt-1.11.1 | py37h1de35cc_0 41 KB conda-forge
------------------------------------------------------------
    dag-wf-qc-se: qc = Quality control; se = single ended
    dag-wf-qc-pe: qc = Quality control; pe = paired end
Notes: dag-wf is metapackage which pulls in all workflows
dag-wf-core contains common components shared across workflows
dag-wf-* are individual workflow packages
Each component individually versioned

## Slide 53: DAG Workflows: File naming
Fastq files from sequencing centres can have hugely varying naming conventions:
    101111_620FWAAXX_2_0.solfastq.gz
    SRR5244800_1.fastq
    SRR5244800_2.fastq
    WT_1_ATCACG_L007_R0_001.fastq.gz
    WT_1_ATCACG_L007_R0_002.fastq.gz
We need a more useful naming convention:
  Single ended sequences: samplename.fq.gz
  Paired end sequences: samplename_1.fq.gz, samplename_2.fq.gz
dag-wf-rename-fastq tool allows bulk renaming of fastq files to our convention
Uses ‘mapping file’ to determine new file names
Compresses any uncompressed fastq files

## Slide 54: DAG Workflows: dag-wf-rename-fastq
(dag-wf) ningal:~ $ ls -1 bad_names > mapping.txt
Now edit mapping.txt in your favourite editor…
File needs to be tab-delimited:
    Old_name<tab>samplename<tab>read(1/2 – paired end only)
      101111_620FWAAXX_2_0.solfastq.gz DAG01
      SRR5244800_1.fastq DAG02 1
      SRR5244800_2.fastq DAG02 2
      WT_1_ATCACG_L007_R0_001.fastq.gz DAG03 1
      WT_1_ATCACG_L007_R0_002.fastq.gz DAG03 2
  Save the file and exit your editor
  You can also create this in excel and export it (file -> save as -> ‘tab delimited text’)
  Remember to correct the line endings when copying to cluster with dos2unix…

## Slide 55: DAG Workflows: dag-wf-rename-fastq
(dag-wf) ningal:~ $ dag-wf-rename-fastq
Usage: dag-wf-rename-files [-i inputdir] [-m mapping_file] [-h]
Renames batches of files to make them amenable to runnig through DAG workflows
The required mapping file should be a tab delimited file containing the following fields:
Original_filename Sample Read
where:
original_filename: the current name of the file
sample: the sample name to which the file relates
read: either '1' or '2' (not required for single-ended fastq files)
Any uncompressed fastq files found will be compressed using gzip
Options:
* -i: path to input directory containing files to rename
* -m: mapping file of filename to sample mappings
* -h: Display help
So give it a go….

## Slide 56: DAG Workflows: dag-wf-rename-fastq
(dag-wf) ningal:Intro_to_NGS_examples $ dag-wf-rename-fastq -i bad_names -m mapping.txt
Files will be renamed as follows:
101111_620FWAAXX_2_0.solfastq.gz -> DAG_001.fq.gz
SRR5244800_1.fastq -> DAG_002_1.fq
SRR5244800_2.fastq -> DAG_002_2.fq
WT_1_ATCACG_L007_R0_001.fastq.gz -> DAG_003_1.fq.gz
WT_1_ATCACG_L007_R0_002.fastq.gz -> DAG_003_2.fq.gz
Please check the renaming above is correct
Do you wish to proceed? [y/N] y
`bad_names//101111_620FWAAXX_2_0.solfastq.gz' -> `bad_names//DAG_001.fq.gz'
`bad_names//SRR5244800_1.fastq' -> `bad_names//DAG_002_1.fq'
gzip compressing DAG_002_1.fq
bad_names//DAG_002_1.fq: 67.2% -- replaced with bad_names//DAG_002_1.fq.gz
`bad_names//SRR5244800_2.fastq' -> `bad_names//DAG_002_2.fq'
gzip compressing DAG_002_2.fq
bad_names//DAG_002_2.fq: 60.8% -- replaced with bad_names//DAG_002_2.fq.gz
`bad_names//WT_1_ATCACG_L007_R0_001.fastq.gz' -> `bad_names//DAG_003_1.fq.gz'
`bad_names//WT_1_ATCACG_L007_R0_002.fastq.gz' -> `bad_names//DAG_003_2.fq.gz'
A log of changes made has been written to fastq_rename.070319_140916.log

## Slide 57: DAG Workflows: workflow setup
(dag-wf) ningal:~ $ dag-wf-setup
Usage: dag-wf-setup [-n name] [-d directory] [-w workflow] [-i inputdir]
Options:
* -n: Name of workflow job
* -d: Directory to create for containing workflow files
* -w: Workflow to initiate
* -i: Directory containing input files for workflow
* -c: Copy input files into workflow (default: use symlink)
Available workflows: qc-pe,qc-se

## Slide 58: DAG Workflows: workflow setup
(dag-wf) ningal:~ $ dag-wf-setup -w qc-pe -d Streptococcus -n Strep_QC –i ~/Intro_to_NGS/Streptococcus
Setting up qc-pe workflow in Streptococcus...
Populating Streptococcus/fastq directory with data files...
/homes/jabbott/Intro_to_NGS_examples/Streptococcus/H395.1.fastq.gz -> Streptococcus/fastq/H395_1.fq.gz
/homes/jabbott/Intro_to_NGS_examples/Streptococcus/H395.2.fastq.gz -> Streptococcus/fastq/H395_2.fq.gz
/homes/jabbott/Intro_to_NGS_examples/Streptococcus/H411.1.fastq.gz -> Streptococcus/fastq/H411_1.fq.gz
/homes/jabbott/Intro_to_NGS_examples/Streptococcus/H411.2.fastq.gz -> Streptococcus/fastq/H411_2.fq.gz
/homes/jabbott/Intro_to_NGS_examples/Streptococcus/H543.1.fastq.gz -> Streptococcus/fastq/H543_1.fq.gz
/homes/jabbott/Intro_to_NGS_examples/Streptococcus/H543.2.fastq.gz -> Streptococcus/fastq/H543_2.fq.gz
/homes/jabbott/Intro_to_NGS_examples/Streptococcus/H544.1.fastq.gz -> Streptococcus/fastq/H544_1.fq.gz
/homes/jabbott/Intro_to_NGS_examples/Streptococcus/H544.2.fastq.gz -> Streptococcus/fastq/H544_2.fq.gz
Please inspect the Snakefile in the 'Streptococcus' directory and modify as required.
The workflow can be run by running 'cd Streptococcus; dag-wf-run'
(dag-wf) ningal:~ $ cd Streptococcus
(dag-wf) ningal:~ $ dag-wf-run
Notes: This should take about 7 minutes to run

## Slide 59: DAG Workflows: The Snakefile
Plain text file which defines workflow
Consists of series of rules defined by inputs and outputs required, and commands to run
Allows integration of python code for complex requirements
Open the Snakefile in your editor of choice…
Tool parameters are defined at the top of the file
  Command line argument and description in comments
  Parameters are checked at runtime for valid types (i.e. integer, string, boolean)

## Slide 60: DAG Workflows: config.json
Allows per-rule runtime requirements to be defined
Defaults hopefully ok, but may need changing according to data
{
"__default__":
{
"jc" : "''",
"mem_free" : "8G",
"o" : "logs/\\$JOB_NAME.{rule}.log",
},
"fastqc":
{
"o" : "logs/\\$JOB_NAME.{rule}.{wildcards}.log",
},
"trim_galore":
{
"o" : "logs/\\$JOB_NAME.{rule}.{wildcards}.log",
}
}

## Slide 61: DAG Workflows: Sample naming
Single ended libraries:
  [samplename].fastq.gz
  [samplename].fq.gz
Paired end libraries:
  [samplename].1.fastq.gz, [samplename].2.fastq.gz
  [samplename]_1.fastq.gz, [samplename]_2.fastq.gz
  [samplename].1.fq.gz, [samplename].2.fq.gz
  [samplename]_1.fq.gz, [samplename]_2.fq.gz

## Slide 62: Long running workflows
dag-wf-run can be submitted to Grid Engine with qsub
Installed by conda so not in our current directory
  qsub $(which dag-wf-run)
Jobs run under default job class
If individual tasks likely to take > 24 hours need to use 'inf' job class
  Edit config.json….
    {
    "jc" : "inf",
    "mem_free" : "8G",
    "o" : "logs/\\$JOB_NAME.{rule}.log",
    },

## Slide 66: The Sequence Read Archive

## Slide 67: The Sequence Read Archive
Subsection of European Nuclotide Archive (ENA)
Public repository of raw sequence reads
Data freely available for reanalysis
http://www.ebi.ac.uk/ena
Select domain: ‘read’
Taxon name: ’eschericia’
Instrument platform: ‘ILLUMINA’
Library Strategy: ‘WGS’
  Click ‘search’

## Slide 68: SRA Study Details
Notes: NB – Study accession should be in published manuscripts to help you find the data you are interested in

## Slide 69: Summary
We have covered:
Different approaches to sequencing
Library types (Single end/Paired end/Mate pair)
Sequence base quality
Sequence file formats
Sequence quality assessment
Remedial work for problematic sequences
  Read trimming
  Subsampling
  Duplicate removal
Using DAG workflows for sequence QC
Finding publicly accessible sequence data from the SRA

## Slide 70
Any Questions?